|  |  |  |
| --- | --- | --- |
|  | Function | Explanation |
| Reading data | picanproceeg | Loads data from any net |
|  | picaneegaddnetdata | Adds electrode placement information |
|  | biosemi\_procevents | Extracts events from the biosemi system |
| Processing data | picaneegnoisefilter | Filters data – most useful for ERP |
|  | picanipf | Finds an individually tailored alpha range |
|  | picansegmenteegtrials | Breaks data up into trials |
|  | picaneegdropbadtrials | Rejects trials outside 75 V |
|  | picangeteegtimewin | gets the trial and condition related averages within some time window |
|  | picangetmontavg | gets the condition related averages for certain electrodes |
| Plotting | picanploteegtimeseries | Shows complete time-series for all electrodes, stacked vertically |
|  | picananimtopo | Animates a topographic map over time |
|  | picaneegcondtopo | show the condition means on a topographic scalp |
|  | picanploteegcondmeans | shows condition-related means for all conditions for all or just some electrodes |
|  | picaneegplotallcondtrials | shows all trials |